## The Green Party’s

## Alternative Energy Review

March 2003

Dr David Toke

and

David Olivier

with a foreword by

Jean Lambert MEP

Promoted and published by Spencer Fitz-Gibbon for the

Green Party of England & Wales

both at 1a Waterlow Road

London N19 5NJ

Tel 020 7561 0282 Fax 020 7272 6653

press@greenparty.org.uk

Foreword

#### By Jean Lambert, Green MEP for London

Executive Summary

S1 This alternative energy report is a down-to-earth antidote to the ‘greenwashed’ content of the Government’s own Energy White Paper ‘Our Energy Future’, published in February 2003. It is the usual New Labour story of a lot of spin but little substance! We are glad to see that the White Paper does not support building more nuclear power stations. However, given that new nuclear build has been widely regarded as economically impracticable in a privatised electricity network and that it would require the reversal of longstanding policy begun by Mrs Thatcher’s Government in 1990, this cannot be regarded as a major triumph for radical green politics.

S2 The focus on the issue of whether the new nuclear plant should be built has distracted much needed attention from the mechanisms of achieving cuts in carbon dioxide emissions. It is nice to see an improved long term target for cutting carbon dioxide. However, the White Paper’s targets are meaningless without a much clearer programme of measures to achieve energy efficiency. Moreover the Government’s commitment to renewable energy is still half-hearted. Our alternative report gives green activists a range of practical measures to campaign for at both local and national levels.

Energy Efficiency

S3 Large-scale energy efficiency cannot possibly be achieved when public sector bodies at a level lower than central government have practically no resources to employ the significant numbers of staff needed to implement a meaningful programme. For example, the Government’s White Paper mentions targets for energy efficiency in housing; yet hardly a single local authority (we can find none) has even made detailed and comprehensive measurements of how much energy is being used by the housing stock in their area. The Government talk spin and greenwash!

S4 The Government is wrong when it implies (in the White Paper) that the energy efficiency of only 5 per cent of the UK energy economy can be directly influenced by government procurement policies covering buildings and equipment. Our report shows, in detail, how at least 26 per cent of the energy economy (by carbon dioxide emissions) can be directly influenced by extremely cheap (usually money saving) measures taken by public sector institutions. The Government can, by various means, also have an influence on the rest of the energy economy. A range of specific measures and ways of implementing them are covered in this report which will lead to real cuts of 11 per cent of UK carbon dioxide emissions by 2020. These are cuts which are additional to existing Government programmes.

S5 We  need to employ significant numbers of people, at both national and especially at local/decentralized levels, to implement these measures. Energy efficiency needs to be organized with Treasury support involving performance indicators, top-sliced additional funding and other mechanisms put in place to ensure thoroughgoing training and appointment of energy efficiency personnel in local government and other public sector institutions.

S6 Much, if not most, of the rest of the energy economy can be influenced by the Government. The Government can make it a condition for large contractors who wish to do business with Government that they follow guidelines, training and practices which ensure energy efficient outcomes.

S7 The Government has increased the target for installing combined heat and power (CHP) to 10 GWe by 2010. But how is this to be achieved? Our report suggests some straightforward planning mechanisms which the Government have ignored. Above all, CHP operators need to be given premium prices for electricity sold to the grid.

Renewable Energy

S8 The Treasury has succeeded in watering down the commitment, made tentatively in the White Paper, to supply 20 per cent of UK electricity from renewable sources by 2020. Progress towards this ‘aspiration’, starting with 10 per cent by 2010, is only advocated ‘as long as the cost to customers is acceptable’. The costs of new renewable sources like wind power are much less than the costs of nuclear power, yet the Government has not asked electricity customers about the ‘acceptability’ of continuing large subsidies for nuclear power.  Even a 20 per cent target for renewable electricity is no more than Denmark has achieved since 1985. Our windy island can do much better.

S9 The Government’s own wrong-headed ‘free market’ financial mechanisms used to support renewable energy, allied to the totally unjustified opposition of the Ministry of Defence to wind power schemes, have been the biggest factors holding back renewable energy power since 1990. The White Paper does nothing to reduce financial uncertainty facing renewable energy developers and it fails to advocate the establishment of an independent means of adjudicating objections to wind power schemes made by the Ministry of Defence.

S10 Guaranteed minimum payments for electricity from windfarms are needed to speed deployment of both offshore and onshore wind power schemes and real, not token, encouragement needs to be given to community investment in renewable energy schemes. Local Government and other public sector bodies need to sign up for renewable energy supply contracts. To make much greater use of solar power, the Green Party advocates the inclusion of solar panels as mandatory in all new buildings.

Nuclear Power

S11 Despite the greenwash, the bulk of Government energy investment is still going to nuclear power. More than half energy R&D goes to nuclear and less than a quarter goes to renewable energy. The Government is pouring money onto British Energy, some of it through a loan, and a lot of it financed by backdoor means through payments for ‘decommissioning’ costs given to British Nuclear Fuels. Let us save the UK a lot of money (and a lot of nuclear waste) by phasing out nuclear power. This can be quickly achieved because of the excess electricity generating capacity in existence.

S12  The report begins with a statement of some objectives. Then we say something about nuclear power. Following on from this we insert the ‘Energy Efficiency in the Public Sector’ report. This is the main part of our report. Following this we say something about renewable energy. The sections on energy efficiency and renewable energy contain a range of suggestions for action by local authorities and other public sector institutions.

# 1. Objectives of energy strategy

1.1 Our over-riding objective is to develop an energy strategy that is clean, safe, cheap and secure. This immediately rules out nuclear power on all four criteria, as we shall describe in the next section. It means that fossil fuel sources which are already cheap must be made cleaner and must be phased out in favour of clean renewable energy sources which are becoming or will become cheaper through being given access to markets.

1.2 Cleaner energy means energy that cuts down on production of acid emissions, carbon dioxide and hazardous, particularly nuclear, wastes. Of particular importance are the achievement of energy security and reduction of carbon dioxide emissions. Both of these aims are enhanced by promoting energy efficiency and renewable energy.

1.3 Given the dangers posed by global warming, it is vital to achieve radical reductions in greenhouse gas, and especially, carbon dioxide emissions. We know that increasing carbon dioxide levels in the atmosphere are occurring, and that this is increasing, and will increase, temperature levels. This will lead to rising sea levels. Geological history, which cannot be explained without postulating a strong link between carbon dioxide levels in the atmosphere and global temperatures, suggests that temperature increases of 4-5 degrees K could have disastrous consequences. On top of this, the need to conserve oil and gas in order to avoid energy resource crises and their political consequences ought to propel sustainable energy policies onto to the top of political agendas.

1.4 The United Nations’ Intergovernmental Panel on Climate Change has said that global carbon dioxide emissions need to be reduced by 60 per cent in order to stabilize the climate. An ethically justifiable UK target is a reduction of at least 85 per cent by 2050 because it leaves room for the developing countries to make less of a cut than 60 per cent.

1.5 So far UK Governments have succeeded in achieving their international commitments for carbon dioxide reduction, but then the target of stabilising 1990 emissions by 2000 (agreed at the Rio Earth Summit in 1992) was never a very challenging target. In fact UK carbon dioxide emissions in the year 2000 were some seven-and-a-half percent less compared to 1990. The biggest cause of this was the shift in electricity production from inefficient power stations fired by coal which has a high carbon content to more efficient power stations fired by natural gas, which has a much lower carbon content.

1.6 The UK Government has a target of reducing 1990 carbon dioxide emissions by 20 per cent by 2010. In its 2003 White Paper ‘Our Energy Future’ the Government accepted a target of cutting carbon dioxide emissions by 60 per cent by 2050 compared to current levels. The acceptance of this target, and some other targets in the White Paper, represents an acceptance of some green rhetoric, but without the means of implementing a green agenda.  The Government’s targets for renewable energy deployment are half-hearted and the means of achieving even the present targets are inadequate. The White Paper says practically nothing about the specifics of how energy efficiency improvements can be achieved and there is a failure to even acknowledge the need to have a major increase in personnel organizing energy efficiency in grass roots bodies such as local authorities.

1.7 We detail, in this report, how we can substitute energy efficiency for nuclear power in terms of substituting for the carbon dioxide emissions that are otherwise saved by nuclear power’s non-fossil electricity generation. Contrary to the impression given by some, if no more nuclear power stations are built, this need not jeopardize Government targets for carbon dioxide reductions. Savings in carbon dioxide through practical energy efficiency measures can much more than replace any carbon savings through nuclear power stations without any significant increase in taxation. However, there will be need for a major overhaul of public sector-led training, planning and local delivery mechanisms to accommodate energy efficiency practices.

1.8 Of course, we wish to go beyond the Government’s programme, and hence further measures will be necessary. If we combine a radical programme of energy efficiency, a major drive to deploy renewable energy to supply 40 per cent of electricity by 2020 and also energy taxation measures it should be feasible to go way beyond the Government’s own present target of 20 per cent cuts in carbon dioxide emissions by 2020. Hence the Green Party aims to achieve cuts in carbon dioxide emissions of 40 per cent by 2020 (compared to 1990).

1.9 It is unfortunate that the central argument of the Government’s energy review has been about nuclear power rather than about energy efficiency. Because of this, and the debate about the continued viability of the nuclear power sector, we need to spend some time discussing the nuclear option.

2. More nuclear power?

2.1 The nuclear industry often complains that its critics are ‘hysterical’ about the danger of accidents and they insist that modern nuclear power stations do not leak much radioactivity. The lack of any solution to the disposal of nuclear waste is glossed over. The nuclear industry do not, of course, say much about radioactive leaks when they are talking about Sellafield Reprocessing Plant which routinely dumps large quantities of liquid waste into the Irish Sea. In fact the nuclear industry propagates a number of myths about itself and its activities.

2.2 The energy security myth. Nuclear power will not increase our energy security. Nuclear power stations run on uranium, a radioactive substance whose extraction has resulted in terrible losses of life among miners around the world and terrible amounts of radioactive mining wastes. Quite apart from the fact that it is no type of security that is achieved at somebody else’s expense, if all the world greatly increased the contribution of nuclear power sufficient to make a major impact on reducing carbon dioxide emissions we would find that we would have a ‘uranium’ security crisis.

2.3 The decommissioning myth. Ever since 1990 when the Conservatives privatized electricity and then realized that the privately owned electricity industry would not build new nuclear power stations the nuclear industry has cultivated the notion that it is the costs of decommissioning old nuclear power stations that makes the industry expensive. This myth is propagated for three reasons:

a) First, it distracts attention from the fact that the reason that nuclear power stations are not build by the private sector are that they are incredibly expensive to build and could not possibly generate even half enough income from electricity sales to justify them being built on standard commercial criteria.

b) Second, it allows the industry to claim money from the state to finance ‘decommissioning’. This money is then not used for ‘decommissioning’ but is instead spent to keep commercial operations of nuclear power afloat. The latest example of this are the back door subsidies given to British Energy when it had a financial crisis in 2002. British Nuclear Fuels Limited (BNFL) agreed to take a cut in the money it receives (from British Energy) for reprocessing spent nuclear fuel rods (a totally pointless, extremely negative, process anyway) and in return BNFL was given an increase in the funds it gets to ‘decommission’ old nuclear power stations.

c) Third, the nuclear industry uses the decommissioning argument to prolong the life of hopelessly uneconomic power stations. It says that nuclear power stations cost so much to decommission that you have to keep the power stations running. Well, we do not argue with the point that turning the nuclear power station sites into green field is an incredibly expensive process. However, the nuclear industry have no intention of doing this, and it is laid out quite clearly in their plans that after some modest work to remove actively radioactive materials the plant will be left to fester for many decades. Hence the nuclear industry can claim it needs vast sums for ‘decommissioning’ from the state while in reality this money is used to subsidise normal commercial operations, so keeping plants going. Decommissioning funds are, in reality, about keeping the nuclear power stations going, not closing them down. This is a good example of what George Orwell (in his book ‘1984’) called ‘doublethink’.

2.4 The cheaper new design myth.

a) This is the oldest and longest running myth of them all, yet it is still being rolled out in the 21st century. In fact, successive models of nuclear power stations have become more and more expensive. That has a lot to do with the fact that people demand high safety standards. Nuclear chiefs say the chances of having an accident are remote. You bet people want this to be so! Another reason is that other energy sources have become relatively cheaper while nuclear power cannot increase its efficiency because of the limitations of generating electricity from steam.

b) The cost structure of building new nuclear power stations is truly horrendous, as exemplified by the last one, Sizewell B. The industry say the next one will be cheaper. But why on earth should that happen. Why should we believe that when this line always turned out to be nonsense in the past?

c) According to official accounts, Sizewell B power station cost, in 2003 prices 3600 million pounds of state money to build; but that does not include interest on money borrowed during construction, which is something all commercial power stations have to pay for. When you include that, even at a low 8 per cent discount rate, the total cost rises (in 2003 prices) to around 4900 million pounds. In cost per KW of capacity this means about 4500 pounds per kilowatt, which is over twice what it costs to build wind turbines to produce the same amount of electricity.

2.5 How on earth would new nuclear power stations be funded? You would not find a financial organisation that would believe the figures the nuclear industry gave them, let alone lend them money. Hence the Government would have to set up a mechanism whereby British Energy, or some such company, would be given virtually a blank cheque to spend many billions of funds diverted from taxpayers and electricity consumers. No doubt the nuclear industry would talk about the need to pay ‘decommissioning costs’ which would once again be diverted for other purposes.  There would certainly be a dramatic increase in electricity prices – maybe up to a third. This is in a world where the Government will not even increase prices by one per cent to fund energy efficiency measures that pay for themselves in the end.

2.6 Energy analysts were not at all surprised that the 2003 Energy White Paper did not propose ‘new nuclear build’. We should not regard this Government decision as a great step forward given the inherent impracticality of building more nuclear power stations and the fact that a nuclear ‘no-build’ policy has been established since the Thatcher Government in 1990. See also the 1995 Energy White Paper which was produced under the Major Government. The decision merely represents the avoidance of production of even more nuclear waste and the avoidance, for the Government, of what would have been a major political own-goal.

### Phasing out nuclear power

2.7 The Green Party believes that nuclear power should be phased out as rapidly as possible. Given the massive over-capacity of electricity generation in the market at the moment, there is little doubt that this could be achieved very quickly without any problems for the electricity supply system. Many have claimed that the Government will have difficulties achieving its carbon dioxide reduction targets if no new nuclear power stations are built. This would certainly have little effect on the target for 2010 as the Government do not plan on retiring large proportions of nuclear power capacity until after that date. Nevertheless, we strongly contest the claim that it will create problems even by the year 2020, by which time the bulk of nuclear power will have been retired according to Government plans.

2.8 Our report on energy efficiency, which details a range of measures that will substitute for nuclear power, will be part of a strategy to achieve carbon dioxide reductions well over and above those set by the Government. We stress that while a nuclear power building programme will be extremely expensive (compared to other energy supplies), the energy efficiency programme can be mostly self-financing (being cheaper than existing forms of energy supply). Although the Green Party regards energy taxation as being desirable in the context of reaching more radical targets for reduction in carbon dioxide emissions, significant increases are not required for the fulfilment of the energy efficiency programme outlined in the report  which follows:

3. Energy Efficiency

Summary and Overview

3.1 This report identifies policy initiatives which could improve the end-use energy efficiency of the UK public sector and save on CO2 emissions. They involve national and local government procuring more energy-efficient buildings, vehicles, electrical office equipment and domestic appliances.

3.2 They also involve public sector initiatives to influence private sector purchasing habits on buildings, vehicles and electrical equipment. But this move forward would still be government-led, utilising initiatives which are already open to the public sector via land ownership, or via its financial contribution to housing associations and other bodies. We need to overcome the considerable knowledge deficit that exists on the subject of energy efficiency.  The number of people who know about energy efficiency must be dramatically expanded and their contribution to building and equipment planning and procurement must be routine at all levels.

3.3 The Government’s 2003 Energy White Paper greatly understates the impact that public sector initiatives can make on energy efficiency. The White Paper offers few practical means of organising such initiatives apart from dressing up a review of government procurement as an energy efficiency measure when this is likely to be a peripheral, and only superficially treated, objective.  The Government seems to think that spin is a substitute for substance. It is, for example, quite ludicrous for the Government to publish targets for energy efficiency in housing when there is no, or practically no, local authority that has made even properly calculated energy consumption of houses in its area. Local authorities lack the staff to achieve even this limited objective. Hardly a single local authority (we can find none) has even measured how much energy is used by the housing stock in their area, disaggregated into old housing and modern housing (after the various Building Regulations are applied). Although energy use for some types of public building, such as schools, has been tabulated, no authoritative measurements on random samples exist for housing, which uses far more energy in total than even schools.

3.4 The report highlights the need for a more pro-active approach to energy efficiency, with a growing contribution from renewable energy to a reduced demand. The report estimates the potential savings in energy and CO2 from these initiatives over two timescales. First, the short term, around two years from now - say by the year 2005. Second the medium term, by the year 2020. The identified CO2 savings are 1.9 M tonnes per year by 2005 and 15.7 M tonnes per year  by 2020. This would represent a saving in these sectors of around 11 per cent by 2020, a figure which will increase further when use of combined heat and power (CHP) in new housing developments is taken into account. It should be emphasised that the effect of the actions outlined in this report will continue after 2020 and the proportions of energy efficiency savings will increase.

3.5 It should be stressed that these savings do not take into account future improvements in energy efficiency technology. Moreover such measures can be implemented through a thorough programme of training, redesign of investment allocation procedures, the issuing of appropriate guidelines for buildings and equipment procurement to public sector institutions and appointment of large numbers of staff with the required knowledge as energy managers. This needs to be co-ordinated through energy efficiency offices in every Government Department, with a central unit in the Treasury with levers such as top slicing for energy efficiency investment and the setting up of a performance indicator for energy efficiency in local authorities and other public sector bodies. These measures, in themselves, do not require significant increases in taxation or in the cost of supplying energy since they are mostly self-financing through energy savings. The case for increasing energy taxation, however, is still very strong in view of the need to achieve higher carbon dioxide reductions than the Government’s target of 20 per cent reduction in 1990 levels of carbon dioxide by 2010.

3.6 Although this report covers only 26 per cent of the energy economy (as measured by carbon dioxide emissions) we believe that equivalent savings are possible in other sectors of the economy and in the private sector. This nationwide improvement could be achieved, in many instances, by a requirement that companies with substantial contracts with the Government should meet energy efficiency best practice standards. For example, use of energy efficient vehicles by companies and adoption of energy efficiency procurement and training programmes similar to that which can be adopted in Government could achieve objectives that are similar to that which can be achieved in the public sector. Overall, we would expect that the approach considered in this report will lead to cuts of 11 per cent in the energy economy as a whole by 2020. This will much more than compensate for the decline in nuclear power associated with a planned phase-out of nuclear energy.

3.7 The Government has projected that carbon dioxide emissions will fall, on the basis of its own programme, by 19 per cent by 2010 compared to 1990 iii, although it has not published projections of the effects of its programmes beyond this date. However the energy efficiency measures implied by this report will much more than compensate for the phase-out of nuclear energy that will have occurred by 2020.   Energy efficiency measures and renewable energy measures substituting for only 5 per cent of the UK’s carbon dioxide emissions would be needed to compensate for the decline of nuclear power in this period. This demonstrates just how modest the Government’s targets are and how it would be possible to adopt more radical carbon dioxide reduction targets as well as phasing out nuclear power. Cuts of 30 per cent of 1990 UK carbon dioxide emissions are attainable by 2020 with this phase-out even without more radical measures such as carbon taxes. The Green Party believes that such strategies are needed in order to produce cuts of 40 per cent in carbon dioxide levels by 2020.

3.8 The report concentrates on public sector procurement of better buildings, vehicles and electrical equipment. It briefly describes other government action which would prepare the ground for greater CO2 savings later in the 21st. century.

3.9 Table 1 shows the trends in UK energy use from 1990 to 2000. Table 2 shows in more detail how energy was used in 1995 in relevant sectors of the economy 1.

Table 1.  UK Primary Energy Consumption (TWh/yr).

| SECTOR | 1990 | 2000 | AVERAGE GROWTH RATE |
| --- | --- | --- | --- |
| Domestic buildings | 767 | 913 | 1.7 % per yr |
| Public and commercial buildings | 423 | 530 | 2.2 %/yr |
| Industry | 794 | 736 | -0.7 %/yr |
| Transport | 662 | 766 | 1.4 %/yr |
| TOTAL | 2647 | 2945 |  |

3.10 These overall increases in electricity consumption have not translated into increases in carbon dioxide emissions. In fact carbon dioxide emissions actually declined by 7.5 per cent in 1990-2000 because of changes in the fuel mix (mainly coal to gas), and a big improvement in power stations efficiencies. The Government expects carbon dioxide emissions to fall (on the basis of its own programme) by nearly 20 per cent by 2010.

3.11 The actions discussed in this report are additional to the measures assumed by the Government, for example the effect of new building regulations, climate change levy etc which the Government have implemented or to which they have committed themselves.

3.12 In their submission to the Government’s Energy review Friends of the Earth said that retirement of existing nuclear power stations will mean that their contribution to electricity supply will decline from 21 per cent in 2000 to around 7 per cent by 2020. Because electricity contributes around 30 per cent of UK carbon dioxide emissions this would be equivalent to a saving, through energy efficiency, of under 5 per cent of carbon dioxide emissions throughout the energy economy as a whole. This will be much more than achieved as a result of the savings produced as a result of the implementation of the recommendations contained in this report.

Table 2. Relevant UK Energy Uses and CO2 Emissions in 1995.

| SECTOR | END USE |  | ENERGY (TWh) | CO2 (M tonnes) |
| --- | --- | --- | --- | --- |
| Domestic | Space heating | Coal | 28 | 8.1 |
|  |  | Oil | 28.3 | 6.5 |
|  |  | Gas | 229.5 | 43.6 |
|  |  | Electricity | 17.8 | 7.5 |
|  | Water heating | Coal | 7.3 | 2.1 |
|  |  | Oil | 8.7 | 2.0 |
|  |  | Gas | 99.7 | 18.9 |
|  |  | Electricity | 14.8 | 6.2 |
|  | Cooking | Gas | 18.2 | 3.5 |
|  |  | Electricity | 8.1 | 3.4 |
|  | Lighting | Electricity | 17.4 | 7.3 |
|  | Elec. appliances | Electricity | 51.0 | 21.4 |
|  | TOTAL |  | 528.7 | 120.3 |
| Public buildings | Space heating | Fossil fuel | 50.1 | 11.5 |
|  |  | Electricity | 0.6 | 0.3 |
|  | Water heating | Fossil fuel | 9.7 | 1.8 |
|  |  | Electricity | 0.4 | 0.2 |
|  | Cooking | Gas | 4.7 | 0.9 |
|  |  | Electricity | 0.9 | 0.4 |
|  | Lighting | Electricity | 5.0 | 2.1 |
|  | Cooling | Electricity | 1.1 | 0.5 |
|  | IT equipment | Electricity | 0.8 | 0.4 |
|  | Other | Electricity | 1.6 | 0.7 |
|  | TOTAL |  | 74.9 | 18.7 |
| Transport (note; only 10% of this is public sector) | Cars and taxis | Oil | 330.8 | 76.1 |
|  | Light vans | Oil | 40.9 | 9.4 |

NOTES TO TABLE 2:

- Relevant sub-sectors only.

- The published units of million tonnes of oil equivalent were converted to terawatt-hours (1 TWh = 1012 Wh = 109 kWh) using a conversion factor of 1 Mtoe = 12.39 TWh.

- Public buildings include central and local government offices, educational and health premises.

- The non-domestic statistics combine all fossil fuels. To give CO2 emissions, the oil coefficient was applied in the case of space heating, the gas coefficient in the case of water heating.

- “Cooling” also includes fanpower to move the air.

- The assumed conversion factors, in kg of CO2 per kWh, are: coal 0.29; oil 0.23; gas 0.19; electricity 0.42.

- Some of these detailed statistics refer to 1994; more recent estimates were not available in time.

3.13 The rapid rise in UK road transport energy between 1990 and 2000 was due to a 14% increase in fuel use by HGVs and a 26% rise in fuel use by light vans. Fuel use by cars rose by 1%. Experts consider road transport energy use to be roughly stable; the rise in freight travel is substantially offset by a more favourable trend with cars.

3.14 The largest rise in CO2 emissions was from electricity use in non-domestic buildings. It more than doubled from 1990 to 2000. This rate of growth far exceeds the growth of oil use in the transport sector. Table 2 has a breakdown of how electricity was used in public sector buildings.

3.15 Not only is energy use in non-domestic buildings outpacing energy growth in the transport sector, but so is energy consumption in domestic buildings. Over the period 1990-2000, the fuel consumed to heat UK dwellings rose an order of magnitude faster than fuel consumption by cars. Electricity consumption by domestic appliances rose even faster.

3.16 The media rarely mention this adverse trend, so what are the reasons behind soaring energy use by buildings? It seems that with growing incomes, thermal comfort and electrical equipment ownership and use are steadily rising and that these are outweighing a lethargic improvement in the energy efficiency of UK buildings. The media stress transport energy, but to halt the growth in CO2 emissions we also need a huge effort on buildings.

3.17 This report looks into the possibility of a range of public sector initiatives to procure more energy-efficient public buildings, vehicles and electrical equipment. It also discusses the scope for further public sector action to influence the energy efficiency of private and social housing, office and retail buildings.

3.18 This influence over the private sector can utilise several possible “levers”. One is where the public sector owns proposed development land. Another is where the public sector provides some funding to certain types of buildings; e.g., it supports social housing and certain industrial buildings. Another is through the development control (planning) system.

3.19 The end of this report gives estimates of the potential savings in energy and CO2 over two timescales. First in the shorter term, around two years from now. Second in the longer term, around 20 years from now. These are savings from three initiatives:

- Procure more fuel-efficient vehicles for public sector fleets;

- Improve existing public building energy use from “typical” to “good practice” by 2013 and set tighter standards still for new buildings;

- Use the local authority funding input to ask RSLs to set tighter energy performance standards on new housing than would otherwise be achieved.

3.20 We have been unable to quantity the savings from a range of other measures, but we believe that they could be substantial.

3.21 Our proposed steps do not directly discuss initiatives taken in the private sector, although we would expect measures to ensure that action in the private sector follows Government leadership on energy efficiency, as is discussed elsewhere. Our proposals are primarily a case of the public sector showing leadership with the private sector introducing schemes that match Government schemes that have been developed. The detailed energy savings in this report neglects the fuel savings which could flow from other central government reforms to provide fundamental support for energy efficiency. They also neglect savings associated with policies such as ensuring that all new housing developments are fired by community heating supplied by CHP. This report therefore represents an incomplete programme compared to what can realistically be achieved in saving energy by 20202

Domestic buildings – scope for energy efficiency

###### International gap

3.22 UK dwellings are less energy-efficient than dwellings in other developed countries; e.g., Germany and the USA. Table 3 has a striking comparison of the gap in performance.

Table 3. Energy Consumption of Housing to Different Standards.

| ENERGY EFFICIENCY STANDARD | MEASURED ENERGY CONSUMPTION kWh/m2yr (nt1) |
| --- | --- |
| 1. Normal new German houses (nt2) | 140 |
| 2. UK housing stock | 300 (nt3) |
| 3. Normal new UK houses | >200 (nt4) |
| 4. UK typical “ultra-low-energy housing” (nt5) | 150 |
| 5. UK best “ultra-low energy housing” (nt6) | 75 |
| 6. German Passive Housing | 32 |

NOTES:

- Sum of the gas or oil (sometimes coal) used for heating and hot water and the electricity used for lights and appliances.

- In terms of the need for space heating energy, the German climate is as severe as the climate of northern England - rather more severe than the England or Wales average.

- Estimated roughly from recent overall energy statistics. The former figure was about 280.

- No measurements exist. The quoted UK figures are in fact theoretical calculations, using over-optimistic U-values. Anecdotal evidence and more precise calculations suggest that the real figure is probably in the range 200-250.

- See reference. 2.

- Typical of fairly well-designed and -built schemes; e.g., Reyburn House, Embleton House, Lower Watts House and since then the Garnham House.

3.23 On average the sample of about 200 “ultra-low-energy homes” consumes half as much energy as the UK housing stock. But it uses more than a normal new German house!

3.24 Historically, UK buildings had lower internal temperatures than buildings on the continent; e.g., in Germany, Austria, the Czech Republic, Sweden and Poland. It is clear that UK comfort standards are increasing towards continental levels and that this is one reason why building energy use, especially in housing, is rising so much.

###### Reality versus theory

3.25 There is doubt over the as-built energy efficiency of modern UK housing. Anecdotal evidence suggests that it uses more energy than the government’s models predict3.

3.26 The UK’s 1990-2000 energy statistics also show something is badly amiss. Domestic gas consumption in this decade rose faster than domestic floor area. We do not yet know how much of this growth is due to old houses being better-heated and how much is due to new housing being built in an energy-wasting manner.

3.27 Across most of mainland Europe, there is no large discrepancy between theory and practice. In Germany and Switzerland the law states the maximum energy consumption of a new house or office (under standard occupancy conditions; e.g. 20 degrees C indoors all the time). One party, usually the architect, has a legal duty to ensure that this construction standard is met.

3.28 The disparity in construction quality between the UK and central Europe probably explains why the European Commission felt it realistic to issue a Directive on the Energy Performance of Buildings. The very term “energy performance” implies over-optimism over the capability of the UK construction industry. A minority of UK buildings perform pretty well, but most parties in the industry need considerable training and education before the energy consumption of ordinary buildings will ever match the designer’s predictions.

Policy initiatives

###### Social housing

3.29 Registered social landlords (RSLs) construct about 10% of new UK dwellings. In recent years, this amounted to about 17,000 dwellings per year.

3.30 Central government makes a grant to social housing via the Housing Corporation. Via this route, RSLs are already being asked to meet slightly higher energy efficiency standards in their new dwellings. Local government also makes a financial contribution to new social housing. If a council is committed to energy efficiency, it could use this funding as a lever to insist that RSLs meet higher standards than the Housing Corporation requires.

3.31 The Housing Corporation already requires RSLs to incorporate some energy-efficient features (BRE Eco-Homes Plus) and build houses which in principle are more energy-efficient than the Building Regulations. This needs to be modified so that RSL dwellings must meet a minimum energy performance (at normal operating conditions). It would then be possible to require an improved energy performance standard in new housing.

3.32 Central government could also permit RSLs to provide lights and appliances in new rented housing to energy efficiency standards above the legal minimum. Today RSLs are discouraged from including anything in the rent apart from a bare, unfurnished shell. Low-income tenants lack the capital to buy efficient appliances; the landlord could provide them.

3.33 When RSLs refurbish housing, they can be asked to meet a higher standard than current Building Regulations. Good models for radical improvements exist on mainland Europe. In the late 1980s, the town of Schiedam, Netherlands superinsulated an estate of 450 solid-walled flats which dated from the 1950s. The gas consumption for space heating was reduced by over 50%, and yet comfort increased dramatically; tenants could afford a warm home for the first time ever. Previously only one room in the flats had been heated.

3.34 Over the period from now to 2020, RSL housing energy performance would improve to some extent anyway, influenced by the Building Regulations and extra Housing Corporation requirements. We assume that further intervention leads to the fossil fuel consumption of a dwelling being reduced by 3,000 kWh/yr, and electricity consumption being reduced by 800 kWh/yr, versus what it would otherwise have been.

###### Council Housing

3.35 Local Authorities should apply a similarly wide range of energy efficiency measures to council housing - which is directly under their control.  To guard against costs being passed on to tenants, a national   government funding stream should be made available for this specific purpose.

###### Private housing

Speculative developers

3.36 Legally, local government cannot influence the energy efficiency of private housing estates, except possibly via clauses in its planning policy. For example, local authorities can pressure developers to use district heating which can then be supplied by combined heat and power (CHP) schemes. But, if councils own development land, they can force the developers of such land to meet much higher energy efficiency standards than the Building Regulations.

3.37 This mechanism deserves to be used more. Milton Keynes used it for many years; the Development Corporation owned the land on which the town was built. The National Trust is using it to oblige the developers of a 600+ house estate in Cheshire to meet a performance standard based on proposals from the DTLR for "Longer-Term Insulation Standards” 4.

Self-build homes

3.38 These dwellings, constructed by or for a particular owner, now account for about 18% of new UK dwellings, and for about 50% of all new detached houses. The proportion is slowly rising but it remains far below the level in other developed countries. In Germany, Austria and Belgium, for instance, 50+ % of all new dwellings are self-build.

3.39 Several reports suggest that self-build is the market sector which has most interest in building really energy-efficient houses, well beyond Building Regulations. This is not altogether surprising; if people control the construction of their new house, they are more inclined to do something to reduce the running costs.

3.40 Most land which is scheduled to receive planning permission for housing is controlled by large developers, who already own options on much of the land around most UK towns and cities. This tends to restrict access to land by self-builders. It would be very helpful if local authorities would try to level the playing field. Several actions are possible:

- Require developers who obtain planning permission to sell a proportion of sites as serviced single plots to self-builders;

- Permit sites that have previously been occupied by houses to be redeveloped. In south-east England this does not always happen and Greenfield sites may be developed instead; and/or

- Change the criteria so that more “windfall sites” - the type most available to self-builders - receive planning permission.

3.41 The government’s Design Advice scheme is normally available to those developing buildings >500 m2 in floor area. It could be extended downwards so that one-off houses - other than mansions -  are eligible. Participation would be voluntary but councils could advertise it to all who apply for planning permission.

3.42 In terms of costs and benefits, an extension of Design Advice could be justified if self-builders who receive the benefit of an expert consultation undertake to implement the advice in full. Perhaps this could be enforced by making the recommendations part of the planning permission documents.

###### All dwellings

3.43 To investigate the disparity between theory and reality we must urgently survey utility bills (especially space heating) for a large random sample of modern housing. This statistical data can then be compared with the gas, oil and electricity bills which were predicted when the houses received Building Regulations approval (SAP calculations). Internal air temperatures and floor areas also need to be checked, as part of the analysis.

3.44 Ideally, the sample would be nationwide, making it statistically representative of construction in the whole of England and Wales. Failing that, perhaps 5-10 district councils spread widely across the country could collaborate, but even a study in one district could be better than none at all. Today we know almost nothing of the true energy performance of modern housing which was constructed in accordance with the 1982, 1990 and 1995 Building Regulations.

## Non-domestic buildings – scope for energy conservation

3.45 There now appear to be over ten German office blocks which use 20% as much energy as normal UK offices. These exemplary buildings were all designed and constructed in the last five years. Also near the top of the energy efficiency scale, the UK has some very energy-efficient exemplars. For instance, the 1994 Elizabeth Fry Building at the University of East Anglia uses 80% less energy for heating than a normal university building; the Woodhouse Health Centre in Sheffield uses 50% less total energy than a normal doctor’s surgery, etc.

3.46 Moving down the scale towards more normal buildings, Table 4 lists typical and good practice energy use for several types of local government building. Only 5-10% of buildings reach the good practice figures.

Table 4.  Typical and good practice energy use - local government buildings.

| BUILDING TYPE | ENERGY USE kWh/m2yr | TYPICAL | GOOD PRACTICE |
| --- | --- | --- | --- |
| Town/city halls | Gas | 170 | 112 |
|  | Electricity | 111 | 84 |
| Libraries | Gas | 172 | 112 |
|  | Electricity | 47 | 32 |
| Police stations | Gas | 410 | 295 |
|  | Electricity | 60 | 45 |
| Primary schools | Gas | 164 | 113 |
|  | Electricity | 32 | 22 |
| Secondary schools | Gas | 144 | 108 |
|  | Electricity | 33 | 25 |

NOTES:

- These figures refer to existing buildings, not new ones.

- The ratio of good practice to typical energy use is: gas 70%, electricity 74%.

- Source:

- Local government also includes senior citizens’ homes and social services buildings. Residential homes are not included in the above categories but need to be tackled; a typical home has energy bills of £15,000/year.

Simple examples of “short payback” best practice measures in existing buildings include:

- Replace inefficient lighting systems. All systems over five years old are obsolete in these terms, as are some newer systems. Advanced lighting systems with electronic control gear, T5 tubes and efficient luminaires can run with 25-30% the power of “normal” systems installed in the 1980s. The annual savings could reach £15,000 (100,000-150,000 tonnes of CO2) in a medium-sized office block;

- Install automatic lighting controls so that rooms are not lit when they are unoccupied or when daylight is available;

- Install improved heating controls and condensing boilers;

- Change from electric space or water heating to gas (or to LPG or oil);

- Install CHP plant (on suitable sites);

3.47 Buildings all have their own unique inefficiencies. Local authorities can get some professional advice free, courtesy of central government’s Action Energy (formerly Energy Efficiency Best Practice Program). Usually the highest short-term returns are secured by improving the services, not the building fabric. Most improvements before 2010 would inevitably be of this type. If a building owner carries out a total refurbishment, the scope for energy efficiency is nearly as good as when designing a new building. Large improvements can be considered at that time to the fabric, insulation and glazing.

3.48 An example of a very focused effort on building energy efficiency is BT PLC. BT reduced its buildings’ total energy consumption (excluding the telephone network) by 11% between April 1997 and March 2002. Its real-time energy monitoring system detects energy waste the moment it begins.

Policy initiatives

###### Government buildings

Existing stock

3.49 We should adopt a bold policy of improving the existing building stock from “typical” to “good practice” within a decade. We should aim to maintain the same rate of improvement until at least 2020. This amounts to a major political commitment, but it is open to local government to make the funds available and act to improve its town halls, council offices, schools, fire stations, police stations and residential homes. It would also affect central government departments, regional government offices, the NHS, universities and colleges.

3.50 Starting in 2003, we would be 20% of the way to “good practice” by 2005. With this pace of improvement we would save 6% of existing gas consumption and 5% of existing electricity consumption by 2005, and around 50% and 40% respectively by 2020.

New buildings

3.51 We can set somewhat more stringent standards for new public buildings. This step will not have a significant impact by 2005, but it could be saving useful amounts of energy and CO2 by 2020. We have been unable to establish a precise figure so it is excluded from our total.

3.52 To reach 30-40% of current “typical” energy use is not technically difficult in new buildings. Most projects could probably reach an intensity <30% tomorrow if the design team know what they are doing, and if the owner or tenant chooses very energy-efficient electrical equipment.

3.53 As regards the building itself; i.e., heating, lighting, cooling, ventilation, etc but excluding electrical equipment, a prerequisite is that someone in the design team, or an outside expert, monitors the energy-related features and the somewhat complex interaction between them as the design develops. A government leaflet points out that strategic decisions, taken at the inception of a building design, can save 50% of its subsequent energy use. At most this is possible at no extra initial cost. Sometimes there is a capital cost saving5. The tragedy is that this rarely happens, because the usual building procurement process is so dysfunctional.

3.54 The public sector can influence the energy efficiency of other non-residential buildings, in a small way. If any part of the public sector sells land for commercial or industrial development it can set a legal requirement that the developer exceeds the energy efficiency requirements in the Building Regulations.

3.55 It should be mandatory that new housing estates and public buildings should be designed to be served by district heating and small-scale CHP. Local councils can exert influence on this through planning rules backed up by the issue of planning policy advice from the Government. The potential energy savings of this are not included in this report, but such savings are likely to be substantial.

Electrical equipment – scope for energy efficiency

3.56 As an important part of the problem, this report briefly reviews IT equipment. In 1994 this accounted for 7% of all the electricity used by public/commercial buildings. The proportion has risen since then but it is not clear by how much.

3.57 Large personal computers (PCs) can easily consume 150 watts when they are switched on and not in use. If such a PC is left on all the time, which sometimes happens, it will consume more primary energy than a small fuel-efficient car and emit nearly as much CO2. This is not widely-known.  One effective move is to give workers laptop PCs. They use around 90% less electricity than desktop PCs. Some laptop TFT colour screens use only 10 watts. Although laptops can have less computing power or fewer features, they also have advantages:

- Enhanced mobility, so workers no longer need a separate PC at home;

- Laptops work for a few hours after the start of a power cut, so work can continue while PCs are progressively shut down;

- LCD screens emit no ionising radiation;

- LCD screens emit less heat, which may reduce eyestrain;

- The mobility of laptops makes them more prone to theft, but if need be workers can lock laptops inside desks as an extra precaution, making them more secure than desktops.

3.58 Pacific Gas & Electricity (PG&E) gave most of its staff laptop PCs in the early 1990s. At that time, energy efficiency activity was at its peak. PG&E was the largest private electric utility in California.

3.59 The other option is to use special software on desktop PCs and modify them to use less electricity. Most PCs sold today have automatic electricity-saving controls to meet the Energy Star standard, which was developed by the US Environmental Protection Agency but has spread worldwide.

3.60 Many desktop PCs in the corporate workplace have the Energy Star features disabled by the company’s IT department. Energy Star is incompatible with Windows NT. Many PCs display “screen-savers” when not in use - on anecdotal evidence, 50% or more of them do. The name screen-saver is misleading; PCs in this state consume electricity at full power.

3.61 If, for some special reason, laptops are not applicable, the best option is to implement commercially-available software packages which shut down systems when needed, even if the PCs are networked. These automatic “power down” systems can be applied to all desktop PCs, but they are unlikely to save more electricity than Energy Star controls would have saved, had they been enabled.

Policy initiatives

3.62 There is a case for mass-producing laptop PC technology in its entirety and incorporating it into all desktop PCs, but this is only likely to happen if a large number of public authorities demand such machines. Individuals and small businesses lack the buying power to shift the market.

There are some common objections to laptops. These include limited features, small hard disks and inferior keyboards. These do not seem to be intrinsic deficiencies - rather, many producers deliberately made laptops smaller to appeal to their perceived niche market.

3.63 Besides efficient PCs, government also needs to procure energy-efficient photocopiers, printers, telephone systems, etc. It should only be buying equipment which has a low standby electricity consumption. An informal standard has attracted attention in countries like Germany, the Netherlands, Switzerland, Sweden and the USA, that electronic devices on standby should consume no more than 1 watt. There is no legislation yet but there are voluntary agreements in countries such as Switzerland. In 2000 the US Federal Government passed an Executive Order to require government departments to purchase electrical equipment using a maximum of 1 watt when on standby.

Improving all electrical equipment should be seen as a big part of improving the energy efficiency of public sector buildings and in reversing the upward trend in electricity consumption. Success in this effort by local government will be recorded on the electricity meters of town halls, police stations, etc.

Transport sector – scope for energy efficiency

3.64 The fuel consumption of the UK’s cars is 9 litres/100 km. New cars consume around 8 litres/100km. Three small cars, all German-made, consume only 3 litres/100 km over a typical driving cycle; see Table 5.

3.65 Table 5 quotes CO2 emissions for petrol and diesel using the “official” UK conversion factors. We feel these factors are unrealistic. They ignore refining losses, which are greater for petrol than diesel - a factor which may even outweigh diesel’s higher carbon content. If the EU cannot agree how to treat refining losses properly, we should revert to a single CO2 coefficient for oil.

Table 5. Examples of Relatively Fuel-Efficient Cars

| MANUFACTURER | COUNTRY | MODEL NAME / NUMBER | FUEL & ENGINE TYPE | FUEL CONS. (l./100 km) | CO2 EMISSIONS (g/km) |
| --- | --- | --- | --- | --- | --- |
| Honda | Japan | Insight 2001 YM 1,2 | Petrol-electric hybrid | 3.4 | 80 |
| Audi - Volkswagen | Germany | A2, 1.2 TDI 3 | Diesel | 3 | 79 |
|  |  | A2 Standard, SE & Sport 1.4 TDI | Diesel | 4.2 | 110 |
|  |  | A3 1.9 TDI (100 kW) | Diesel | 5.3 | 140 |
|  |  | A6 1.9 TDI CVT | Diesel | 5.6 | 148 |
|  |  | 1.6 FSI M5 | Petrol | 6 | 144 |
|  |  | Lupo 4 | Diesel | 3.0 5 | 79 6 |
| Mercedes-Benz | Germany | Smart 7 | Diesel | 3.4 | 70 |
|  |  | Smart | Petrol | 4.7 | 111 |
|  |  | A-Class CDI 1689 | Diesel | 4.5 | 118 |
|  |  | E-Class W211 | Diesel | 5.6 | 148 |
|  |  | E-Class 220 CDI | Diesel | 5.9 | 157 |
| Renault | France | Clio 1.5 dCi | Diesel | 4.2 | 110 |
| Toyota | Japan | Yaris 1.4 D-4D S & GS 3-door 1364 M5 | Diesel | 4.2 | 110 |
|  |  | Prius 1.5 VVT-i | Petrol-elec. hybrid | 5.1 | 120 |
| Examples of cars with high fuel consumption for their class: |
| Jaguar | UK | S Type Saloon | Petrol | 10.7 | 259 |
| Metrocab | UK | TTT Turbo 2446 M5 | Diesel | 9.8 | 257 |
| Estimated best practice using commercial technology |
| Audi A2 1.2 TDI modified to use hybrid technology 8 | Diesel | 2.2 | 60 |

NOTES:

- To be replaced by the Civic IMA in May 2003.

- Two-seater.

- On sale in Germany at £12,300. “No plans” for a UK version; the diesel A2 sold here uses 4.4 litres/100 km and costs £16,000.

- Not known if/when it will be available in the UK.

- Estimated from reports on the internet.

- Calculated from 2.

- Two-seater; electronically limited to 135 km/hr. “No plans” for a UK version.

- Estimated from data in reference. 6 on the impact of hybrid technology on diesel fuel consumption.

3.66 There was an 18% decline in the UK’s fuel consumption per car-km. from 1970 to 1995. This is disappointing. Back in 1976, cars with a fuel consumption of 3 l./100 km were on the drawing board and ready for market. Over 25 years later, these cars have not been launched here - only in Germany.

3.67 There is a voluntary agreement between EU governments and car makers to improve new cars to 140 g/km of CO2 by 2008. The agreement amounts to about a 2.5%/year improvement in fuel efficiency for the whole EU. But our informal surveys suggest that many UK new “mass market” cars consume 8 l./100 km of fuel and emit over 180 g/km of CO2, making us sceptical about the UK’s role in this progress.

3.68 We suspect that long-term technologies like hydrogen fuel cells are being used as a smokescreen for inaction today on super-efficient diesel and petrol hybrid cars. These hybrid cars can run on petrol-alcohol or diesel-vegetable oil blends, offering a smooth and easy transition to renewables.

3.69 Why do the German producers of these “3 litre” cars decline to supply the UK market? Perhaps they believe that the UK has no interest in fuel efficiency. We admit that the Deputy Prime Minister’s choice of car tends to support this view! See the entries near the bottom of Table 5.

3.70 Even within the limitations of the UK market, though, big improvements are possible. The fuel consumption of BT’s fleet of vehicles fell by 9.8% between 1996 and 2000 while vehicle-km rose. To “do its bit”, BT bought fuel-efficient vehicles and implemented knowledge on topics as diverse as low rolling resistance tyres, synthetic lubricants, driving habits et al. Its improvement continues.

Policy initiatives

3.71 Public authorities today could procure the most fuel-efficient cars and vans on the market for their fleets. By agreeing to purchase sufficient volumes, they could possibly press German companies to make their “3 litre” cars in RH drive. It is reasonable to require a 45% reduction now in the fuel consumption of new cars and steady improvements thereafter; see Table 6.

Table 6. Proposed Average Fuel Consumption, Public Sector Car Purchases

| YEAR | AVERAGE FUEL CONSUMPTION | RELATIVE ENERGY INTENSITY |
| --- | --- | --- |
| 2003 | 4.5 litres/100 km | 0.50 |
| 2005 | 3.5 litres/100 km | 0.39 |
| 2010 | 3.0 litres/100 km | 0.33 |
| 2015 | 2.5 litres/100 km | 0.28 |

NOTES:

- Fuel consumption over a mixed urban/rural driving cycle.

- Relative energy intensity compared to the UK stock of cars, not new cars.

3.72 We were unable to find out exactly what percentage of UK cars and light vans are owned or leased by public authorities. In the absence of these statistics, we have made a working assumption of 10% of cars and we have neglected vans. Examples of public sector vehicles include police cars and vans, the central government car fleet, university and local government vans and so on.

3.73 It is assumed that these fleets will be fully replaced within five years. By 2020, this market sector will then be driving cars that use 2.5 litres per 100 km. Before 2010, vehicles procured by the public sector in 2003-04 will be on the second-hand market and saving fuel for subsequent owners, who may be even more concerned about fuel economy than buyers of new cars - used car owners normally pay more in fuel costs than in depreciation.

3.74 Many medium-sized diesel cars in Table 6 and on the government website  consume 40-50% less fuel than a London taxi-cab and emit 80-90% less particulates. Councils should encourage taxi drivers - they license them - to replace current fleets by clean diesel cars and should assess the feasibility of setting a CO2 reductions target as a licensing condition. We also suggest that the London congestion charge should exempt, or make concessions to, cars with low CO2 emissions (urban/cold driving cycle).

3.75 We have evaluated fuel savings on the basis of the total fuel consumed by cars and taxis; see Table 2. We assume that even in a business-as-usual scenario fuel consumption would fall linearly by 20% by 2020 - slightly above the pace of the last 25 years - and we deduct this from our saving. The procurement of more efficient models then leads to fuel and CO2 savings as in Table 7.

Table 7. Road Vehicle Fuel Savings.

| YEAR | DELIVERED ENERGY TWh/year | CO2 (M tonnes/year) |
| --- | --- | --- |
| 2005 | 3.3 | 0.8 |
| 2020 | 34.4 | 7.9 |

NOTES:

- Assumes public sector purchases do not influence purchases of other new cars;

- Assumes a mean vehicle life of ten years;

- Based on 10% of the car fleet being influenced.

We can also start to make renewable fuels available to those who have to use cars and eliminate some bizarre taxation anomalies that have developed, three examples being:

- Waste vegetable oil used in efficient diesel-engined cars pays nearly full excise duty;

- Non-renewable LPG used in inefficient petrol-engined cars pays reduced excise duty and the conversions receive government grants;

- Electricity used in electric cars - which mostly comes from non-renewable sources - pays no excise duty.

National savings

3.76 Table 8 sets out the savings arising from these three initiatives. The other proposed initiatives, for which we have been unable to estimate a saving, are given later in Section 10.

Table 8. National Energy and CO2 Savings.

| Sector | Energy Carrier | Delivered Energy Saving (TWh/year) | CO2 Saving (M tonnes/year) | Initiative(s) |
| --- | --- | --- | --- | --- |
|  |  | 2005 | 2020 | 2005 | 2020 |  |
| DWELLINGS | Fossil fuel | - | 0.8 | - | 0.1 | Tighter rules for RSLs; allow RSLs to provide appliances |
|  | Electricity | - | 0.2 | - | 0.1 |  |
| PUBLIC BUILDINGS | Fossil fuel | 3.9 | 34.8 | 0.9 | 7.7 | Improve existing public bldgs. to “good practice” by 2013 |
|  | Electricity | 0.5 | 4.7 | 0.2 | 2 |  |
| TRANSPORT: Cars and light vans | Oil | 3.3 | 34.4 | 0.8 | 7.9 | Procure fuel-efficient cars for public sector fleets |
| TOTAL |  | 8 | 74.9 | 1.9 | 15.7 |  |

NOTE:

- Assumes today’s CO2 coefficients for fossil fuel and electricity;

- Assumes that the fossil fuel saved in the domestic sector is gas.

- Potential CO2 savings from inproved energy efficiency of council housing stock not included.

A policy shift

###### History

3.77 For decades the UK has “sold” energy efficiency as a money-saving investment. This has sent a subtle signal that energy efficiency is useful, but optional. The UK’s improvement in energy efficiency over the last 30 years has been 1.8% per year, and not even this modest rate of progress quite represents a genuine improvement, because part of it is due to the UK’s shift from manufacturing industry to services. Nor does the rate of improvement appear to have speeded up since 1990, when climate change first appeared as a serious threat.

3.78 What should we in fact be doing? We should be treating energy efficiency as an essential climate-saving investment, and designing our energy policy around it. Let us briefly examine UK energy trends since 1970. Over these 30 years, our energy-to-GDP ratio fell to 0.57 of its initial value. But the growth in GDP outweighed the rate of increase in energy efficiency. So, despite making a steady but slow energy efficiency improvement, the UK’s energy consumption rose.

###### Future

3.79 Over the next three decades, suppose that we put energy efficiency at the heart of energy policy. This means implementing policies which capture peoples’ imagination and financially rewarding the behaviour we want; i.e., less CO2. The result could be that we more than double the rate of improvement in the energy/GDP ratio, from 1.8% per year to 3.9%/year. If we achieve this, the energy/GDP ratio would fall to 0.30 of its present value by 2030.

3.80 For the sake of argument, suppose that the UK economy grows as fast from 2002 to 2030 as it did in the period 1970-2000, as measured by GDP. On these assumptions, UK primary energy consumption over the next 28 years would drop by 42%. If renewables contribute 30% of primary energy in 2030 then our energy-related CO2 emissions would drop to 40% of the present level. We assume that CO2 emissions from the UK’s non-renewable energy sources, measured in kg per kWh of primary energy, stay level.

###### International targets

3.80 Denmark’s official target is to cut national CO2 emissions by 60% by 2030 - very comparable to our UK scenario. Environmental groups want the Danish target to be 70%.

3.81 In September 2002 the German Environment Ministry released a study of the potential for energy efficiency in which Germany’s energy-related CO2 emissions would fall by 80% by 2050. This would coincide with the nuclear phase-out which has been agreed in Germany.

###### Implementation

3.82 As other countries have found, energy efficiency needs not one big initiative but lots of small ones. It needs a highly interdisciplinary effort. The reality of what happens is not just based on engineering and physics. Understanding peoples’ behaviour is also a matter of psychology and history.

3.83 If we wish to more than double the historic rate of improvement in energy efficiency we have to avoid re-inventing expensive wheels and making needless errors. To help us there is a wealth of experience from some countries of what works and delivers “negawatts” fast, together with copious knowledge of what doesn’t work. As a civil servant once put it, the technology isn’t rocket science!

3.84 In the last decade, Denmark, California and two other western US states, Washington and Oregon, have stabilised or decreased their per capita electricity consumption, despite economic growth. The UK has never managed this. Why not? Because we have never treated electrical end-use efficiency as a serious rival to coal or nuclear power, only as an adjunct. Accordingly, utilities have never made it a business priority, despite many efficiency measures being cheaper than the 2-3 p/kWh which it costs to run existing coal and nuclear plants.

3.85 Our institutional setup signals that energy efficiency ranks pretty low. Responsibility for policy is spread among DTLR, DTI, DEFRA, the Scottish Parliament and the Welsh Assembly. We see a more supportive arrangement in the USA. The federal Department of Energy (DoE) provides support to state governments, some of which have programs of their own; funds public sector centres of excellence, e.g., the National Renewable Energy Laboratory and Lawrence Berkeley National Laboratory and directly commissions reports on safe energy from private consulting engineers and other experts. DoE’s Office of Energy Efficiency and Renewable Energy pursues the two key ingredients as an integrated whole.

3.86 In 2000 the Royal Commission on Environmental Pollution said that the UK should expand its energy efficiency R,D&D expenditure to the level of the USA, Germany and other developed countries which spend ten times more per capita as a percentage of GDP 7. This has not happened.

3.87 In September 2002 the UK, alone among developed countries, declined to support the Sustainable Buildings Conference in Norway. The DTI issued a statement: “... There are successful schemes running and the need for international benchmarks is minimal”.  In our opinion, most UK energy-efficient building projects are only “successful” if the international benchmarks are ignored; please refer to Table 3. Perhaps this is what the DTI meant!

3.88 UK policy measures need to be overhauled, not just expanded. While some existing programs may be inspired, many others are inept. The UK also has a tendency to change good programs for the worse; e.g., the Energy Design Advice Scheme 1992-98 vis-a-vis its successors, and terminate programs before they have taken effect.

3.89 Stability is part of the key to success. Stability comes once energy efficiency is treated as a subject  which really matters. The policies and programs which are used to implement the more advanced energy efficiency standards must be fine-tuned and sustained for years, even decades, before they will start to deliver large CO2 savings. Canada’s R-2000 Program began in 1980, it is still going and was recently extended to at least 2006.

###### R,D&D on Advanced Buildings

3.90 The Building Regulations are still widely thought of as “recommended” standards or even as “good practice”. They are the lowest building standard which is still legal and anyone who builds to a lesser standard could in theory go to prison! The government needs to write separate “good practice” energy efficiency standards in detail, or commission appropriate bodies to write them, then update them regularly so that they stay ahead of the Building Regulations.

3.91 These standards must be phrased in terms of measured energy performance, not predicted energy consumption. When local authorities sell development land, they could then cite these standards in the sale contract and be sure that they are imposing an enforceable condition on the developer.

3.92 Higher energy efficiency standards must be the subject of government-led R,D,D&D (research, development, demonstration & dissemination) projects. The more advanced these projects are, compared to current Building Regulations, the more they need sufficient public funding to go ahead.

3.93 When, in 1998, UK parties attempted to implement the most advanced buildings (German Passive House Standard; energy consumption 10% of current UK practice) with 50% private funding, the private sector declined to take part. We were left watching as Sweden, Germany, Switzerland, Austria and France went ahead. Canada’s C-2000 Program was another model of its kind, so was PG&E’s ACT3 Program in the USA; both showed the need for a more hands-on approach to energy-efficient buildings.

3.94 Historically the UK government has issued leaflets and brochures on “good energy efficiency practice” and left it there, as though this guarantees that the relevant technology will be rapidly-replicated. Architects who design new public sector buildings say that these government leaflets count for little with their clients, who still assert that energy efficiency costs a lot and is irrelevant to their project(s). If we do not address this prevailing mindset, many glossy government leaflets will continue to be printed but building energy consumption, as recorded on the gas and electricity meters, will continue to rise.

Recommendations

3.95 Table 9 has a full list of possible actions for different branches of the public sector to take.

Table.  List of Possible Public Sector Initiatives.

| Buildings | Central government | Local government |
| --- | --- | --- |
|  | 1. Procure its new buildings to higher energy efficiency standards. Use its own Design Advice scheme on all new buildings and refurbishments. | 1. Procure its new buildings to higher energy efficiency standards. Use central government’s Design Advice scheme on all new buildings and refurbishments. |
|  | 2. Bring up its existing building stock to “best practice” within a decade. | 2. Improve its existing building stock to “best practice” within a decade. |
|  | 3. Impose similar energy efficiency requirements on any development land which it sells. | 3. Impose similar energy efficiency requirements on any development land which it sells. |
|  | 4. Advise NHS, universities and colleges to do the same as 1,2&3 1. | 4. Advise its police authority to do the same as 1,2&3 2. |
|  | 5. Instruct government agencies to require higher standards in the many buildings which they financially support. | 5. Provide more support and encouragement in its own planning policy for self-builders. |
|  | 6. Extend Design Advice to smaller buildings. | 6. Commission outstanding research; e.g., survey the true energy performance (utility bills) of a large random sample of modern housing. |
|  | 7. Instruct Government agencies to incorporate district/community heating and combined heat and power systems in public buildings, and issue planning guidance to local authorities to mandate district heating for new housing estates | 7. Use the planning approval system to pressure developers of new housing estates and public buildings to install community heating systems which can be connected to combined heat and power plant. |
|  |  | 8. Organise combined heat and power schemes covering existing buildings and local industry |
| Vehicles | 1. Buy energy-efficient cars and vans for its own fleet. | 1. Buy energy-efficient cars and vans for its own fleet. |
|  | 2. Change MPs’ travel expenses system 3. | 2. Ensure that its own travel expenses system does not favour [or penalises] “gas-guzzlers”. |
|  |  | 3. Pressure taxi drivers to buy more fuel-efficient cars through the licensing system |
| Electrical Equipment | 1. Buy energy-efficient electrical office equipment for its buildings. | 1. Buy energy-efficient electrical office equipment for its own buildings. |
|  | 2. Advise NHS, universities and colleges to do the same. | 2. Advise its police authority to do the same. |

NOTES:

1. The UK has a system of central government funding for public bodies such as universities, colleges and the NHS. If developers are forced to build to higher standards, central government may need to compensate these institutions for a temporary loss in land value before the required energy-efficient construction becomes widespread and cheap. This point has not been studied in detail.

2. UK police forces are part of local government.

3. Currently MPs with larger-engined cars can claim expenses at higher rates.

3.96 As is made clear in the next section, there is nothing even vaguely resembling an infrastructure that will enable effective training for and implementation of energy efficiency. However, officers of the Building Research Establishment and the Energy Saving Trust can advise on various practical issues of energy efficiency.

# Recommendations for Political Action

3.98 Central to the achievement of all these recommendations is the development of a programme of appointing energy efficiency personnel and ensuring that thorough training in energy efficiency is given to appropriate persons in all institutions that order energy using equipment and which procure new buildings and refurbish existing buildings. Many years ago the Audit Commission recommended that 10 per cent of all energy spending be allocated for investment on energy conservation and that for every million pounds worth of spending there should be one full time employee organizing energy efficiency.

3.99 These recommendations have never been implemented, and moreover even these recommendations are woefully inadequate for the sort of programme envisaged in this report. We believe that a minimum of three persons per million pounds per annum of energy spending is necessary. These persons would be part situated in institutions such as local authorities and part situated even closer to the ground in places like individual schools and hospitals, albeit part time in the case of smaller units such as schools or social care facilities which do not spend sufficient amounts on energy to warrant  a full time energy efficiency worker.

3.100  What does this mean in practical activities? The Government needs to have a well-resourced best practice energy efficiency office in each of its Departments. This needs to a) produce regularly updated guidance on energy efficiency measures to be adopted through purchase of energy using equipment, new buildings and refurbishment and re-tooling of existing facilities b) Co-ordinate, with the Treasury at the hub, the incorporation of energy efficiency considerations into every aspect of Governmental and government-related activity. c) For example, in the schools sector, the Department for Education and Science energy efficiency office would organize a national training programme appropriate for local authority energy efficiency officials, architects who design schools and teachers in schools. At least one teacher in each school should have (paid, part time) responsibility for advising the Head Teacher on energy efficiency. They will be trained in the details of ordering the most energy efficient equipment, whether they be computer systems, photocopiers, and liaising with architects about energy efficiency in building developments. Schools will be able to access funds for investment in energy saving measures (e.g. lighting or heating controls) from ‘top sliced’ funds held by the local authority and managed by their energy efficiency offices.

3.101 The Government needs to set up a specific performance indicator for energy efficiency in local authorities. Extra money needs to be allocated to local authorities for energy efficiency. Money for investment in energy efficiency needs to be top-sliced from local authority budgets and there needs to be a energy efficiency office housed in the Treasury itself responsible for co-ordinating energy efficiency activities. There needs to be a cabinet sub-committee established to ensure co-ordination between energy efficiency units which need to be established in every Government department. Existing institutions such as the Building Research Establishment and the Energy Saving Trust will have a vitally important role in these processes and their expertise will be expanded to provide intelligence for the training services and programme evaluations conducted by the Treasury and other governmental departments.

3.102 Of course greater central activity is only one side of the coin. There also needs to be greater decentralization with financial incentives being built into systems so that local units benefit directly from achieving energy savings. Local authorities need greater planning powers to enable them to insist on energy efficient practices. For example, planning authorities need to insist that new housing estates are built using district heating and combined heat and power, a measure that is not accounted for in this report but which would deliver significant savings of natural gas and carbon dioxide emissions. At the same time there needs to be an overhaul of British heating engineering training to bring it up towards standards and practices in countries like Denmark,The Netherlands, Sweden and Germany.

3.103  It cannot be stressed too strongly that pale reflections of such schemes are no more than token gestures. Sticking up posters urging people to turn off lights, turn down the heating (British buildings already being among the coldest in Europe) and even (as had been done to a limited extent in some local authorities) having people counting energy used is, on its own, of little or no value. As suggested above, knowledge about energy efficiency practices need to be routinised in everyday equipment ordering and building development. Investment in energy efficiency needs also to be routinised in all purchases, building and planning decisions.

3.104  Looking wider than this, basic and regularly updated training needs to be afforded to all personnel involved in making energy equipment/infrastructural decisions. Some professions, such as architects, builders, electrical contractors and many others need especial attention. Universities have a great role to play in the upgrading of energy efficiency training.  National vocational, A Level and GCSE qualifications (especially those relating to CDT) need to pay greater emphasis to energy efficiency techniques.

3.105  In addition, the building procurement program of many public bodies needs to be urgently made more integrated, and less dysfunctional, with the objective that energy efficiency issues are considered sensibly and coherently throughout the inception, design and construction process of a new building and thereafter. There is no cost associated with this if the design process is properly-integrated so that effective communication takes place between clients, design teams and builders. According to the January 2003 report on schools from the National Audit Office, on average the PFI process has reduced the build quality of new schools - and probably their energy efficiency too - taking us in exactly the opposite direction from that in which we need to go.

3.106 We would anticipate that most of these changes in training, personnel, equipment and buildings procurement policies can be transferred to the private sector, something which is not covered in this report. One measure is use of procurement agreements whereby companies with extensive contracts with Government agree to energy efficiency strategies similar to those being organized in the public sector. Hence, for example, company cars and other energy using equipment could become more energy efficient. Such action will have knock-on effects for the rest of the economy as market pressure generally raises the energy efficiency of energy using equipment that is available of the market. These strategies can be amplified further by the adoption of more regular updating of, for example, the EU refrigerator energy labeling and minimum energy efficiency standards schemes.

Conclusions

3.107 There is a large scope for the public sector to “do its bit”. Three steps are listed which could save around 1.9 M tonnes per annum of CO2 emissions by 2005 and 15.7 M tonnes/annum by 2020. Extension of these practices into the 74 per cent of the energy economy (the private sector) not covered by this report private sector should extend these savings to much more than 25 M tones/annum by 2020.

3.108 The government is responsible for setting new background conditions which favour a low-carbon future. These include a fundamental policy shift from investment in energy supply to investment in energy efficiency, coupled with institutional reforms so that people participating in this move face as easy a path as their counterparts on mainland Europe. Only after setting the stage in this way can the government justifiably demand that the private sector plays its role in securing a safe energy future.

3.109 The UK has limited local government powers, and they are still being reduced, so more responsibility for public sector action rests with central government than it does in countries with more devolved constitutions; e.g., the USA, Germany, Italy and Switzerland. Yet, after reading this report, those in local government should be able to see many initiatives that they can take without reference to Whitehall. That having been said, Whitehall needs to ‘get its act into gear’, and fast. It is doubtful whether all of the Government’s present targets will be met without more emphasis on appointment of staff at all levels (from grass roots to every Government Department) to organize energy efficiency, plus ring-fenced investment in energy efficiency and training programmes. There needs to be a thorough overall of all Governmental policy levers to ensure that energy efficiency is taken seriously. We are already well behind Denmark and Germany in practical (if not rhetorical) terms. There needs to be comprehensive training programmes for all those in the public sector who order equipment of buildings using energy.

4. Renewable Energy

Summary and Overview

4.1 There are a number of renewable energy sources: wind, wave, solar, tidal, biomass, hydro are the principal examples which have been developed to at least prototype stage. They are all at different stages of development. Wind power, some types of solar power and some types of biomass already have forms which can be, and are being, commercialized. We need to pay attention to creating the conditions that will allow most rapid and appropriate commercialisation for these technologies. We spend most time discussing this. However, it is important that even these technologies, along with others that are less well developed are afforded research and development money. As Friends of the Earth pointed out in their submission to the Government’s energy review, Government annual spending on renewable R&D averaged only around 25 million pounds for the 2001-2004 period compared to the 230 million pounds on average every year on nuclear power over the last 25 years. The Government’s White Paper is misleading on the amount of R&D available for renewable energy given that it fails to mention that (according to Friends of the Earth) 58 per cent of Government energy R&D was spent on nuclear power in 2000 (the latest available year) and only 23 per cent on renewable energy.

4.2 The Government’s target for renewable energy deployment is currently 10 per cent of electricity by the year 2010, and the White Paper tentatively advocates the aspiration ‘to double renewables share of electricity from our 2010 target’ by 2020. However this is hedged by the caveat that the target is achieved ‘as long as the cost to customers is acceptable’. This represents an interesting comparison to nuclear power where electricity customers have never been asked whether the high costs of nuclear power are acceptable to them. The present Government has not asked customers whether the continuing deluge of nuclear subsidies is acceptable to electricity customers. The Renewable Power Association estimate that on current trends we shall only have 7 per cent of new renewable electricity (not including old large hydro plant) on line by the year 2010. This low projection is, as explained below, largely the result of wrong-headed policies by successive Governments which have limited renewable energy deployment. Given the rapid advances in the technology and economics of various renewable energy sources and, in particular, the great potential for offshore wind power we ought to be setting a more ambitious target of deriving 40 per cent of UK electricity from renewable energy by 2020. Certainly, if the Government’s promise to aim for 60 per cent reductions in UK carbon dioxide emissions by 2050 is to be more than a piece of greenwash then we need to be aiming for targets of this nature.

4.3 As yet little action has been taken to ensure that the UK’s electricity system is sufficiently flexible to incorporate large proportions of intermittent electricity supplies. The Government (and OFGEM) does not understand that the problem with intermittent supplies will occur when there is too much of them rather than when there is too little. Insufficient attention is being paid to Danish practice which  illustrates how combined heat and power plant (which can be linked to hot water storage capacity) are much more flexible compared to conventional power stations in dealing with this problem. In the longer term the development of use of hydrogen in motor vehicles and other applications (via fuel cells) will provide a market for excess supplies of renewable electricity since the electricity can be used to generate hydrogen from water.

4.4 Currently by far the largest contribution to the 1.7 per cent of electricity supplied by new renewable energy is landfill gas. This is likely to continue to increase, but we are at last seeing the beginnings of a serious increase in the deployment of wind power in the UK. This is likely to provide the large bulk of the UK’s renewable energy programme, so we shall focus on this.

Wind power

4.5 Despite having better wind resources than the whole of western Europe put together, the UK has lagged behind various other European states in wind power. Denmark now derives 20per cent of its electricity from wind power, Germany and Spain both derive about 5 per cent. Hitherto it has been thought that difficulties in gaining planning permission have been the main problem hampering wind power deployment in the UK. However close examination of the statistics reveals that while obtaining planning permission has been a major problem, the biggest reason why we do not have a competitive wind power programme is because the Government’s framework for deployment of wind power has been very bad indeed. It has had a lot more to do with trying to satisfy idealistic notions of free market economists than practicalities of promoting a new industry. Offshore as well as onshore wind power schemes are being held back because of the financial uncertainty that the application of these ‘free market’ ideas involves. Moreover, the planning problems have not come just through local councils. In fact nearly half of all applications to build windfarms have been the subject of objections by the Ministry of Defence.

4.6 As the Table 1 below shows, the majority of windfarms planning applications determined in the UK have achieved planning approval. The best result has been in Scotland and Northern Ireland, the worst in Wales.

4.7 The amount of wind power capacity given planning approval in England would have exceeded the amount of capacity refused approval if just one particular proposal for a large windfarm planned in Northumberland had not been vetoed by the Ministry of Defence! Strangely, in Germany, Denmark and Spain there are virtually no examples of windfarms being successfully rejected by the military authorities. Is their radar better than ours? Are our pilots less good at avoid wind turbines? (How do they fare with hills and tall trees?) The White Paper promises to ‘simplify procedures for accommodating our national security needs’ and that the MOD should explain problems of siting windfarms in particular places. However there is no commitment to establish an independent means of assessing the claims made by the military about specific cases (as exists in other countries). Hence the MOD can continue to exercise an effective veto on wind farm planning applications without having their claims subjected to independent adjudication.

4.8 We can see in Table 1 below that the Non-Fossil Fuel Obligation (NFFO) schemes, have, since 1994 only brought on line around a quarter of the schemes in terms of capacity of the contracts awarded. However, over half of the capacity has never resulted in any planning applications because the proposed windfarms were uneconomic. This was a consequence of the competitive bidding mechanisms that drove developers to bid unrealistically low bids in terms of electricity prices that they would be paid for their output. The competitive programme had the effect of generating large amounts of capacity from very cheap, large schemes that existed only in fantasyland.

Table 1

All Planning Outcomes for the UK for NFFOs 3/4/5, SROs 1/2/3 and NI NFFO

|  | Planning consent granted | Planning consent refused | No application pursued |
| --- | --- | --- | --- |
| MW (DNC) | 215 | 206 | 589 |
| Number of schemes | 81 | 55 | 108 |
| Average size (MW DNC) | 2.7 | 3.7 | 5.5 |

Source: RENEW magazine

Notes: A. Figures are in ‘declared net capacity’ (DNC) which is counted as 43 per cent of installed capacity to make a comparison with the output of non-intermittent conventional plant. B. I have insufficient data on planning outcomes of NFFO 1and 2 to include them in this table. 61 MW (DNC) out of 97 MW (DNC) worth of wind power contracts were commissioned in these tranches

4.9 Although the new ‘Renewables Obligation’ mechanism removes many of the constraints on developers its free market in ‘renewable certificates’ means that there is great uncertainty over the amount of money wind power producers will be paid in the future. This is an intolerable situation given that conventional gas power developers have 15 year contracts.

4.10 This uncertainty over future income is an even bigger problem for offshore wind power than onshore wind power because of the greater expense involved in developing a given capacity of offshore compared to onshore wind power. Yet the offshore wind power resource is especially large. A report written by AEA Technology for Greenpeace demonstrated how a quarter of the UK’s electricity demand could be supplied merely using offshore windfarms based off East Anglia. The cost calculated for this would be less than half of what it would cost, based on Sizewell B’s costs, to supply an equivalent amount of electricity from nuclear power. Offshore wind power is a vitally important resource that must be speedily exploited. On the other hand onshore wind power, which is becoming especially cheap, can be much more effectively developed with a better constructed and co-ordinated programme.

4.11 So it seems that the biggest constraint on wind power development continues to be the priority that New Labour gives to free market economics compared to the priority of bringing sustainable energy systems on line. Renewable energy developers need certainty about what they will receive in income in the future. That is how the big programmes have been developed in Denmark, Germany and Spain. Given that the type of payment system and the issue of the Ministry of Defence opposing wind power schemes are both Government matters we can quite safely say that the bulk of the problems faced by the renewable energy industry have been created by Her Majesty’s Government itself.

4.12 One thing that has been lacking in the UK is community ownership of wind power. In Denmark and Germany there are many owners of shares in wind turbine companies. This means that the wind power industry can rely on a large ‘army’ of supporters out in the country who can argue for the industry and offset the claims of those who do not like wind power. However in the UK, the shares are owned by major power companies and banks, so it is more difficult to mobilize political support even though wind power is supported by the large majority of people in the UK.

4,13 The Government should offer minimum fixed prices for electricity from wind power schemes. Planners should encourage schemes which will have high levels of community ownership. Local authorities can help develop renewable energy by agreeing long term supply contracts with renewable energy projects, thus circumventing the problem of uncertainty over income for wind power and other schemes. Information on companies willing to help is available from the Renewable Power Association and the British Wind Energy Association.

4.14 On the planning level local authorities can make things easier for proposers of wind power and other renewable energy schemes. They can do this by stipulating areas where wind power schemes can be sited according to the local plan (of course with an emphasis on where wind power is most

technically and economically feasible). In the past local authorities have, in their structure plans, merely indicated where wind power schemes are not suitable. Planning authorities could also encourage developers to offer significant proportions of the shares in the schemes to local investors.

Other renewables

4.15 Solar photovoltaics (PV), wave power and offshore tidal power are all electricity technologies that need research and development support. However, this should be support that leads to actual deployment that paves the way for commercial development rather than desk top studies. Solar thermal (heating water) needs to be given more consistent support and tax incentives. Despite the wide number of designs available for wave power devices, development of this technology proceeds at a painfully slow pace because of lack of funds. Meanwhile billions of euros are have been, and continue to be, poured into fusion research without producing any device that is even remotely close to commercialization.

4.16 Solar PV in fact is already gaining access to various ‘niche’ markets, and the Greater London Authority has been considering various ways of promoting PV and other renewable sources. One approach, pioneered by Merton Council, is to insist that 10 per cent of the buildings energy needs should come from renewable energy. This encourages developers to use solar PV as a finishing rather than equally expensive finishings like marble. Another activity which should be pursued is to use solar PV to power lighting and other energy systems that may be too expensive to connect to the local grid, for example, lighting on bus shelters or in parks.

4.17 To make much greater use of solar power, the Green Party advocates the inclusion of solar panels as mandatory in all new buildings. Green Party Councillors are pressing for this to be implemented through the planning machinery with developers having the option of installing either solar photovoltaic or solar thermal systems.

REFERENCES AND BIBLIOGRAPHY

- David Olivier, BSc MInstE MASHRAE, is Principal of ENERGY ADVISORY ASSOCIATES, 1 Moores Cottages,  Bircher, Leominster, Herefordshire HR6 0AX. Tel: (01568) 780868.  E-mail: DOlivier@EnergyAdvisoryAssociates.co.uk Web: www.EnergyAdvisoryAssociates.co.uk. David Olivier has written the large majority of the material in the section on Energy Efficiency.

- Dave Toke, B.A., PGCE. M.Soc.Sci, PhD is a lecturer in politics and sociology at the University of Birmingham. He is author of two books on energy and the environment and he is currently engaged in a programme of research into accounting for factors that influence the planning outcomes of wind power schemes. E-mail: d.toke@virgin.net

- Department of Environment, Transport and the Regions, (2000) ‘Climate Change – The UK Programme’, London: HMSO, see Section 2 in particular http://www.defra.gov.uk/environment/climatechange/cm4913/pdf/section2.pdf

      - Energy Paper 66, Energy Consumption in the UK. ISBN 0-11-515439-6. DTI (1997).

      - D. Olivier, J. Willoughby et al, Review of Ultra-Low-Energy Homes. Published by BRECSU as General Information Reports (1996). Available free from (01923) 664258 or

      - D. Olivier, “Building in Ignorance”. For Energy Efficiency Services for Oxfordshire. Published by Association for the Conservation of Energy (October 2001). Downloadable from

      - Proposals for Amending the Energy Efficiency Provisions. A Consultation Paper issued by the Building Regulations Division, DETR (2000)."

      - Anon, “Environmentally-Smart Buildings: A Quantity Surveyor’s Guide to the Cost-Effectiveness of Energy-Efficient Offices”. Good Practice Guide 274 (1999). Available free from

      - IEE Review (January 2003).

      - Royal Commission Environmental Pollution, The Changing Climate (2000).

      - “Biodiesel”, Env. Bldg. News, pp. 7- 14 (January 2003).

      - Malcolm Fergusson, Analysis for PIU on Transport in the Energy Review. Final Report. Institute for European Environmental Policy, London (December 2001).  www.strategy.gov.uk/2002/energy/report/working%20papers/Fergusson.pdf

# Text boxes

Global temperatures could rise by 1.4 to 5.8°C over the next century, according to the Intergovernmental Panel on Climate Change (IPCC).

It is unbelievable that, in this day and age, arguments are still being had over semantics – what do we mean by “Climate Change”.  This debate will no doubt still be raging as the waters of the Thames begin to lap around the doors in Downing Street.

Now is the time to make change happen.  Radical change is needed and it must be strategic, inclusive and systematic.  Most importantly it needs to be visionary and focused.

It is evident from the process of the Government’s Energy Review that it is not yet prepared to commit to such change.  Their review:

- Has little focus on the necessity to radically reduce energy consumption nor on how this can be done with negligible impact on quality of life;

- Still considers renewable energy an add-on to the energy grid, rather than a force behind it;

- Still does not rule nuclear power – that gross iniquity of the 20th Century – as unsafe, despite the wealth of physical proof that it is neither cost efficient, safe or reliable.

By the end of 2001 the German solar PV programme had delivered 35,000 solar roofs. Where are we in the UK? In just one month, more applications were approved under the German programme than are predicted for the entire three year UK Major Demonstration Programme.

Flooding in London alone, my constituency, could cause £20 billion damage, which should give the City pause for thought and cause for action:  it should consider a longer term rationale of directing its investment power and how to reduce its own physical energy demands.

Across the country, impact of climate change are already being seen, with predictions that extreme sea levels could occur 20 times more frequently by the 2080s than they do now.

We must reduce our energy demands and meet our needs in ways that place as little stress on the environment as possible. Such changes will improve the quality of life for all people, both now and in the future. It is time to change – we first need the energy to do it!

In this review, the Green Party is laying the real issues on the table.

Jean Lambert MEP at the Solar Century showrooms in London

Editor/Co-author

Dr David Toke i

Author:

David Olivier ii.